## BoQ1 (hidden)
Item Wise BoQ
BoQ_Ver3.0 | Item Wise | Normal | INR Only | INR
Select, Excess (+), Less (-)
Tender Inviting Authority: < The Registrar Malaviya National Institute of Technology Jaipur MNITJ >
Name of Work: <AMC/Repair of VRV Ac System installed at Prabha Bhawan MNIT, Jaipur >
Contract No: < Enter the Contract No >
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (DOMESTIC TENDERS - RATES ARE TO GIVEN IN RUPEES (INR) ONLY) (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder in Rs. P | Excise Duty Amount in INR Rs. P | GST Amount in INR Rs. P | Freight Charges ( Unloading & Stacking) in Rs. P | Any Other Taxes in Rs. P | Any Other Duties/Levies in Rs. P | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [32 empty] | TOTAL AMOUNT Without Taxes col (13) = (4) x (7) in Rs. P | TOTAL AMOUNT With Taxes col (14) = sum (8) to (13) in Rs. P | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 7 | 8 | 9 | 10 | 11 | 12 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 13 | 14 | 15
1 | AMC/Repair of VRV Ac System installed at Prabha Bhawan MNIT | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | BSR Code MR Repair of 18 Outdoor units of VRV S2538275(S1894222),PRINTED CIRCUIT(1977165) - 02 Nos. S1893856,PRINTED CIRCUIT - 08 Nos. S1893560(S2532523),SCROLL COMPRESSOR (1754603)- 01 Nos. S160021J(S2532522),SCROLL COMPRESSOR 4.5KW - 01 Nos. S2229333(S1679339),PRESSURE SENSOR - S167933J - 02 Nos. S2238971(S1697072),INVERTER ASSY - 2P312487-1 A - 08 Nos. A-REPAIR ,PART REPLACEMENT CHARGES - 01 Nos. A-REPAIR,REFRIGERENT GAS_R-410@250 KG - 01 Nos. | item1 | 18 | ODU | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.01 | BSR Code E 307100 All in all comprehensive maintenance of Variable refrigerant volume (VRV) air conditioning system including indoor units, outdoor units, cordless control, refrigerant piping, control cable, remote control, drain piping, consumables, LT panel etc. complete in all respect as per OEM's guideline to meet out the maximum efficiency of the machine after defect liability period. ( Model No. A-36HP VRV) for 01st Year BSR Code E 307100 The following services shall be covered under the AMC. - Four (04) routine services, Immediate attendance of break down, Refrigerant Gas Charging, wherever required, Centralized temperature control system (BMS) for 01st Year BSR Code E 307100 The following spare parts shall be replaced free of cost in case of any breakdown during the AMC period- Compressor, Fan Motor (indoor and outdoor), P.C.B, Magnetic Switch, Transformer, Other Electrical part of AC like for pole RCCB etc, Air filter, Evaporator Coil, Condenser Coils, Damper, Front grill Assy./Plastic cover/Panel, Centralized temperature control system (BMS) For 1st Year | item10 | 547.2 | TR | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.02 | BSR Code E 307100 All in all comprehensive maintenance of Variable refrigerant volume (VRV) air conditioning system including indoor units, outdoor units, cordless control, refrigerant piping, control cable, remote control, drain piping, consumables, LT panel etc. complete in all respect as per OEM's guideline to meet out the maximum efficiency of the machine after defect liability period. ( Model No. A-36HP VRV) for 02nd Year BSR Code E 307100 The following services shall be covered under the AMC. - Four (04) routine services, Immediate attendance of break down, Refrigerant Gas Charging, wherever required, Centralized temperature control system (BMS) for 02nd Year BSR Code E 307100 The following spare parts shall be replaced free of cost in case of any breakdown during the AMC period- Compressor, Fan Motor (indoor and outdoor), P.C.B, Magnetic Switch, Transformer, Other Electrical part of AC like for pole RCCB etc, Air filter, Evaporator Coil, Condenser Coils, Damper, Front grill Assy./Plastic cover/Panel, Centralized temperature control system (BMS) for 02nd Year | item12 | 547.2 | TR | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.03 | BSR Code E 307100 All in all comprehensive maintenance of Variable refrigerant volume (VRV) air conditioning system including indoor units, outdoor units, cordless control, refrigerant piping, control cable, remote control, drain piping, consumables, LT panel etc. complete in all respect as per OEM's guideline to meet out the maximum efficiency of the machine after defect liability period. ( Model No. A-36HP VRV) for 03rd Year BSR Code E 307100 The following services shall be covered under the AMC. - Four (04) routine services, Immediate attendance of break down, Refrigerant Gas Charging, wherever required, Centralized temperature control system (BMS) for 03rd Year BSR Code E 307100 The following spare parts shall be replaced free of cost in case of any breakdown during the AMC period- Compressor, Fan Motor (indoor and outdoor), P.C.B, Magnetic Switch, Transformer, Other Electrical part of AC like for pole RCCB etc, Air filter, Evaporator Coil, Condenser Coils, Damper, Front grill Assy./Plastic cover/Panel, Centralized temperature control system (BMS) for 03rd Year | item13 | 547.2 | TR | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.04 | BSR Code E 307100 All in all comprehensive maintenance of Variable refrigerant volume (VRV) air conditioning system including indoor units, outdoor units, cordless control, refrigerant piping, control cable, remote control, drain piping, consumables, LT panel etc. complete in all respect as per OEM's guideline to meet out the maximum efficiency of the machine after defect liability period. ( Model No. A-36HP VRV) for 04th Year BSR Code E 307100 The following services shall be covered under the AMC. - Four (04) routine services, Immediate attendance of break down, Refrigerant Gas Charging, wherever required, Centralized temperature control system (BMS) for 04th Year BSR Code E 307100 The following spare parts shall be replaced free of cost in case of any breakdown during the AMC period- Compressor, Fan Motor (indoor and outdoor), P.C.B, Magnetic Switch, Transformer, Other Electrical part of AC like for pole RCCB etc, Air filter, Evaporator Coil, Condenser Coils, Damper, Front grill Assy./Plastic cover/Panel, Centralized temperature control system (BMS) for 04th Year | item14 | 547.2 | TR | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.05 | BSR Code E 307100 All in all comprehensive maintenance of Variable refrigerant volume (VRV) air conditioning system including indoor units, outdoor units, cordless control, refrigerant piping, control cable, remote control, drain piping, consumables, LT panel etc. complete in all respect as per OEM's guideline to meet out the maximum efficiency of the machine after defect liability period. ( Model No. A-36HP VRV) for 05th Year BSR Code E 307100 The following services shall be covered under the AMC. - Four (04) routine services, Immediate attendance of break down, Refrigerant Gas Charging, wherever required, Centralized temperature control system (BMS) for 05th Year BSR Code E 307100 The following spare parts shall be replaced free of cost in case of any breakdown during the AMC period- Compressor, Fan Motor (indoor and outdoor), P.C.B, Magnetic Switch, Transformer, Other Electrical part of AC like for pole RCCB etc, Air filter, Evaporator Coil, Condenser Coils, Damper, Front grill Assy./Plastic cover/Panel, Centralized temperature control system (BMS) for 05th Year | item15 | 547.2 | TR | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [7 empty] | % | [39 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information